Instruction Manual for Apparatus for Work Done by Compressing Gas

Product No.:  TP2007

- Description

This product consists of a holder, a 100 ml syringe, a rubber hose and a quick temperature probe. It is used to study that temperature rises gradually when certain volume of gas being compressed constantly.

- Product Specification

| No. | Name | Picture | Quantity | Remark |
| --- | --- | --- | --- | --- |
| 1 | Holder |  | 1 piece |  |
| 2 | Syringe (100mL) |  | 1 piece | plastic |
| 3 | Rubber hose and quick temperature probe |  | 1 piece |  |

Tab.1

- Product General Assembly Figure

Fig.1: Apparatus for Work Done by Compressing Gas

- Product General Assembly Procedure

Assembly is not required as shown in Fig.1.

- Experimental case

Experiment name

Work done by compressing gas

- Note

1. Before experiment, insert the probe of quick temperature sensor into the rubber hose and connect it to the syringe. Make sure there is no air leakage.

2. Push and pull the piston repeatedly and quickly during experiment.

- Maintenance

Keep the equipment in cardboard box when not in use. Clean the dust on the surface with a damp cloth, avoid scratches from sharp articles.