Instruction Manual for Momentum Demonstrator

Product No.: TP2080

- Description

The conventional experiment apparatus is not able to measure the changing of velocity for momentum and to plot the graph that force changes with respect to time. This product can be used to solve this problem. It designed with photogate and force sensor. It is small in volume and has obvious effect. The theorem of momentum can be verified by experiment software.

- Product Specification

| No. | Name | Picture | Quantity | Remark |
| --- | --- | --- | --- | --- |
| 1 | Momentum demonstrator |  | 1 set | Include force sensor, photogate, horizontal screw and catcher. |
| 2 | Gradienter |  | 1 piece |  |
| 3 | Φ19 steel ball |  | 1 piece | Diameter 19mm，27.97g |
| 4 | Φ19 plastic ball |  | 1 piece | Diameter 19mm，4.85g |
| 5 | USB cable |  | 1 piece |  |

Tab.1

- Product General Assembly Figure

Fig.1: Momentum Demonstrator

- Product General Assembly Procedures

Assembly is not required, as shown in Fig.1.

- Notes

1. Keep the launch tube transparent and clean. Do not rinse it using solvent detergent.

2. Clean the steel ball before experiment.

3. Adjust and keep the launch tube horizontal.

4. Micro-force sensor is high precision device. Please do not break the spring.

5. Gently operate. Please do not use it too violet.

- Maintenance

- Gently use and preserve it.

- Clean the launcher before preserve it.

- Keep the apparatus dry

- Keep the apparatus away from dust and mould.

# Text boxes

Steel ball

Launch tube

Catcher

Spring

Photogate

Horizontal screw

Built-in force sensor

Launcher handle