Instruction Manual for Apparatus for Fluid Pressure

Product No.：TP2095

- Description

The product consists of electrical machine kit, machine holder and tubes. It is used to explore the relationship between flow velocity of gas and pressure. The product is integrated and does not require assembly. It is easy to operate and has clear experiment result.

- Product Specification

| No. | Name | Picture | Quantity | Remark |
| --- | --- | --- | --- | --- |
| 1 | Electrical machine kit |  | 1 set | Machine volume：220*130*122 |
| 2 | Machine holder |  | 1 set |  |
| 3 | Tubes |  | 1 set | 3 pieces |

Tab.1

- Product General Assembly Figure

Fig.1

- Product General Assembly Procedure

Assembly is shown in fig.1.

- Experimental Case

Explore the relationship between flow velocity of gas and pressure.

- Notes

1. Check if electrical machine works properly before experiment.

2. Check if all tubes are connected properly in case gas leaking.

3. When connect tubes to pressure sensor, the amplitude of diameter of tube must be same as pressure sensor’s.

- Maintenance

The device should be placed in a cardboard box if not in use. Use a damp cloth to wipe out the dust on the surface lightly. Avoid scratches caused by sharp articles on the surface.