Instruction Manual for Digital Photoelectric Effect Demonstrator

Product No.： TP2602

- Description

This product consists of a digital photoelectric effect demonstrator, photocell cover, photocell, USB light bar and optical filters. It is used to explore photoelectric effect and verify saturated light current.

- Product Specification

| No. | Name | Picture | Quantity | Remark |
| --- | --- | --- | --- | --- |
| 1 | Digital photoelectric effect demonstrator |  | 1 set |  |
| 2 | Photocell cover |  | 1 piece |  |
| 3 | Photocell |  | 1 piece |  |
| 4 | USB light bar |  | 1 piece |  |
| 5 | Optical filter |  | 3 pieces | One piece for each, red, yellow and blue 95*48*1.8mm |
| 6 | USB cable |  | 1 piece |  |
| 7 | Power adapter |  | 1 piece | 5V-1A |

Tab 1

- Product General Assembly Figure

Fig.1 Product General Assembly

- Product General Assembly Procedures

Fig. 2

Insert photocell and USB light bar into corresponding plugs on the demonstrator as shown in fig. 2.

Fig. 3

Mount the photocell cover over the photocell and insert optical filters into the slot shown in Fig. 3.

Before the experiment, connect the demonstrator to computer using USB cable.

- Maintenance

1. The device should be placed in a cardboard box if not in use. Use a damp cloth to wipe out the dust 	on the surface lightly. Avoid scratches caused by sharp articles on the surface

- 2. It is better to place desiccant in the cardboard box.