Instruction Manual for Heat Absorption(Dissipation)Studying Experimenter

Product No：TP4008

- Product introduction

This product consists of an heat absorption (dissipation) studying experimenter, an experiment rod, power supply(12V, 8A) and a power line. It’s used to study heat absorption performance of different colored objects.

Specification

| No | Component names | Sample pictures | Quantity | Notes |
| --- | --- | --- | --- | --- |
| 1 | Heat absorption (dissipation) Studying experimenter |  | 1 set | 156×120×121(mm) |
| 2 | Experiment rod |  | 1 set (3 rods） | Φ16×100(mm) |
| 3 | Power supply with a power line (12V, 8A) |  | 1 set | Power line length: 1m |

Fig 1

- Picture for general assembly

Fig 1 Heat Absorption (Dissipation) Studying Experimenter

- Product assemble step

This product has already been assembled like Fig 1 , having no need for assembling once again.

- Notes

When power supply works, it will heat. Take care.

- Maintenance

When not using this experimenter, place it in a carton. Gently remove the dust with a wet rug, to avoid sharp objects scratching the surface.