| Colorimeter TW1009 Measuring Range: 0～100％ Resolution: 0.02％ Accuracy: ±2％ Instruction: The colorimeter is directly connected to the computer with USB line before being used. When it is used for the first time, if the numerical deviation is large, it can be reset. The 2. colorimeter is connected to the computer after boot. Click the colorimeter button to adjust the wavelength of different wavelengths: red, violet, blue and green. Every time we use the colorimeter, we need to wash the colorimetric dish with distilled water and wipe the water stains with absorbent paper. Low power reminding: USB power is not inserted and when the battery is low, the word "Lo" will flicker on the screen; USB power is inserted, no matter whether the battery is low or not. | Introduction: The TW1009 colorimeter is used to measure the transmittance of the solution and the reaction rate of chemical reactions with color or transparency in the reaction process. Equipments: Data line A computer equipped with SWR iLab v8.0 and above version software. Operations: 1. Connect the colorimeter to the computer with USB data line or Bluetooth mode. 2. Open SWR iLab v8.0 software. 3. Click the button, choose the experimental interface. 4. Click the "new experiment" button to enter the experimental interface. |
| --- | --- |

| Software: Device Status： Icons display blue, indicating a software recognition sensor. Fast equipment： Click the "quick experiment" button , the system automatically builds a new experimental template. Start： Click the "start" button , the system starts collecting data． Stop： Click stop button to stop data collection. Constituency： Click on the selection button to select the data area you want to analyze. | Typical experiments: Effect of concentration on the rate of chemical reaction -- Potassium Permanganate solution and oxalic acid solution by reaction. The effect of 2. concentration on the reaction rate -- sodium thiosulfate reaction with concentrated sulfuric acid. Determination of vitamin C content in 3. Juice. Determination of substance concentration in solution (Bill's law). Case: 1. Use data line or Bluetooth to connect colorimeter to computer. 2. Open digital experiment system software, and set the collector mode in the "textbook general software", the wired connection mode select "Multi USB", and the Bluetooth connection mode select "Wireless". 3. After the new experiment, click "fast experiment", pour the sample solution into the color plate 2/3 height, cover the chromatimeter cover, click the "start" button to determine the transmittance rate (if the numerical error is too large, the reset function of the chrometer can be performed). 4. Select "overlap display" and measure the other solutions again. 5. After the experiment, click "stop" button to observe and analyze the experimental results. |
| --- | --- |
| Calibration and demarcate: The meter is calibrated when it is released from the factory. The user does not need to calibrate again. When the measured value is inaccurate, users can reset operation. Long press the starting key 2S (with the USB line with the computer connection) to start the machine, in 2S, the buzzer sounded two sound, prompting the 2S time to (if the meeting shut down), do not release the button to continue to hold the key more than 5S, the buzzer will sound a sound, prompt 5S to, enter the initial value demarcation. Add distilled water into a colorimeter with a colorimeter, cover the cover, and hold the chromometer button for 5~10 seconds. The chromatimeter value shows "100" (or close to 100) to indicate that the reset is completed, and then it can be used normally. When there is no keypad operation or no upper computer is used, the system will turn off automatically after working in normal working mode after 10min. | Supply: A colorimeter is used to measure the transmittance of the solution. The advantage of the light-emitting two level tube as the light source is that it will not heat the solution studied. The closing cover can prevent the environment from entering the test area. It provides 4 colors of light source. Users can choose the wavelength of light in the research process: red, purple, blue and green. The colorimeter provided is optical quartz material, and its volume is 4.1cm3. When a beam of parallel monochromatic light passes through a uniform non scattering sample, the beam is exponentially decaying when it propagates in the liquid. The degree of attenuation has a simple relationship with the properties and concentrations of the liquid and the path passed by the light. I=I0e- CD A=lg (1/T) =Kbc I0: incidence of monochromatic light intensity; I: through light intensity; D: light path length; C: concentration of absorbant (mole concentration); the molar absorption coefficient of the absorbant; it is related to the properties of the absorbing material and the wavelength of the incident light; T=I/I0: transmittance; T= I/I0*100%: transmittance. |

# Text boxes

Specifications：

Address:10F,No.3 Building, TianAn Digital Mall,Baixia High-tech Zone, No.36 Yongfeng Road,Qinhuai District,Nanjing,Jiangsu,China.

Zip code：210007

Website：//www.sinoswr.com

E-mail：service@sinoswr.com

Tel：025-83202845/6/7   Fax：025-83202845-828