# Light Sensor

The sensing component in Light Sensor is silicon photocell. It is able to transfer light intensity to voltage signal which is direct proportional to it. The valid spectrum wavelength of Light Sensor is 380nm~730nm, which is ideal visible light section.

Component

| No. | Model | Name | Picture |
| --- | --- | --- | --- |
| 1 | S0019 | Light Sensor |  |

Usage

Connect Light Sensor to any port in SenseDisc.

The light probe is placed in the front of Light Sensor. Aim it to the light when using the sensor.

Typical experiment

Explore the relationship between illumination and distance

Explore the effect of illumination to photosynthesis

Measure the light intensity

Notes

Keep the probe aim to the light source when using it.

Do not abrade or scratch the probe.

# Text boxes

S0019 Light Sensor

Measuring range: 0~55000Lux

Accuracy: ±5%

Resolution: 15Lux