# Sound Level Sensor

Sound Level Sensor can measure the intensity of sound. It collects sound signal using electret microphone. After amplified by circuit, it can output maximum sound intensity value.

Component

| No. | Model | Name | Picture |
| --- | --- | --- | --- |
| 1 | S0021 | Sound Level Sensor |  |

Usage

Connect Sound Level Sensor to any port in SenseDisc.

Place the SenseDisc into the environment to be measured.

Typical experiment

Measure the grade of sound intensity

Measure the noise

Notes

The measuring range of Sound Level Sensor is within 40~92dB. Please make sure the sound to be measured within the range. If it exceeds measuring range, keep the sensor away from it or decrease sound level.

The Sound Level Sensor is not waterproof. If use the sensor in a wet environment, try to prevent water flowing into sensor.

# Text boxes

S0021 Sound Level Sensor

Measuring range: 40~92dB

Accuracy: ±4dB

Resolution: 0.1dB