Voltage Sensor

Voltage Sensor is used to measure the voltage in the range of -500v to 500v.

Component

| No. | Model | Name | Picture |
| --- | --- | --- | --- |
| 1 | S0037 | Voltage Sensor |  |
| 2 |  | Red alligator clip |  |
| 3 |  | Black alligator clip |  |

Usage

Connect Voltage Sensor to any port in SenseDisc.

Connect red and black alligator clips to positive and negative poles in current sensor.

Parallel connect Voltage Sensor into circuit.

Calibration

Voltage Sensor needs to be calibrated before using.

Short connect red and black alligator clips.

Open experiment software . Click  and select ‘Voltage Sensor’. Click ‘Calibrate’ ‘OK’ to complete calibration.

Typical experiment

The charging and discharging of capacitors

Notes

Voltage Sensor should be parallel connected to the circuit during using.

Voltage Sensor needs to be calibrated before using.

The maximum voltage can be applied to sensor is 500V.

# Text boxes

S0037 Voltage Sensor

Measuring range: -500~500V

Accuracy: ±2%F.S

Resolution: 0.3V