Introduction:

The sensitive component of Force Sensor is a resistance strain gauge. It is attached to the metallic cross girder. It measures the force from two directions when the cross girder is deformed. The sensor converts force signal into voltage signal via resistance strain gauge. During using the strain gauge, the resistance of metal wire will change by its deformation. Metallic cross girder is designed in sensor. When there is force applying on metal hook, metallic cross girder will deform and resistance will change. After circuit amplifying, it can accurately measure force value.

Force Sensor can be used to measure pulling force and pressure. When pulling force is applied on metal hook, positive value is displayed. When pressure is applied on the metal hook, negative value is displayed. During using, make sure the force direction is vertical to the front surface of sensor otherwise the measured value will not be accurate.

Calibration:

TS2106 Force Sensor needs to be calibrated before using. Connect sensor to datalogger. Open SWR iLab. Do not hang anything on the metal hook. Click ‘calibration’ . Select ‘Force Sensor’. Click ‘calibrate’. Click ‘calibrate’ , ‘OK’, ‘OK’ and ‘exit’.

The metal itself has weight. Even if there is nothing hang on the hook, no matter place it level or vertical, the data display will be different. There will be slightly error occurs. Thus, when we use it to measure a force on particular direction, we should calibrate the Force Sensor on that direction.

Usage:

There are two threaded hole on Force Sensor (M6). The threaded hole 2 is used with through-hole at front side to fix it on holder. You can also fix it on L shaped holder using these two threaded holes.

Typical experiment:

Explore the Hooke’s law

Newton’s third law

Theorem of momentum

Metal expands by heat and contracts by cold

Explore the simple harmonic motion

Overweight and weightlessness

Archimedes’s floating law

Experimental case:

Newton’s third law:

Experimental procedures:

- Connect two Force Sensors as shown above.

- Open the SWR iLab V8.0. Click ‘new’ to create new experimental template. Click ‘new page’ to create new folder.

- Calibrate both Force Sensors.

- Click ‘function edit’. Insert symbol ‘F’, name ‘Force’, unit ‘N’ and function ‘-F1’.

- Click ‘add line’ to add ‘F-Time’ coordinate. Click ‘add’. Add ‘F2-Time’ coordinate. Click ‘add’ and ‘OK’.

- Click ‘Start’. Change the amplitude and direction of interaction force between Force Sensors.

- Click ‘stop’ when collecting is completed.

- Observe and analyze the figure.

- Clear up the apparatus.

Notes:

Force Sensor needs to be calibrated before using.

Keep the direction of measured force vertical to the front panel of sensor to ensure the accuracy.

Keep the Force Sensor dry.

Please keep the force applied to the sensor not exceeding measuring range during measuring. Otherwise it may damage the Force Sensor.

# Text boxes

Force Sensor

Product No.: TS2106

Measuring range: -50N～＋50N

Resolution: 0.03N

Accuracy: ±1%F.S

Address: No.14 Junnong Road, Qinhuai District, Nanjing, China.

Website: //www.sinoswr.com

Post Code: 210007

Tel: +86-400-828-8387