Introduction:

Humidity sensing component is designed in Relative Humidity Sensor. The sensing component is a kind of polymer capacitor. The capacitance changes with respect to humidity. Relative Humidity Sensor is used to detect relative humidity. There are net shaped holes on the inner side wall of probe cover so that air can pass through it.

Absolute and relative humidity:

Higher the temperature of air, more moisture it contains. Humidity is concentration of moisture in air. Absolute humidity is the mass of water in unit volume of air. The unit is g/cm3. It means absolute concentration of moisture in air. The more moisture in air, the more humidity of it. Absolute humidity is not easy to be measured because the pressure caused by moisture in air is direct proportional to concentration of it. Normally we use moisture pressure to express absolute humidity.

Lots of phenomenon does not depend on humidity but saturation of moisture. Thus, the concept of statement of saturation of moisture has been proposed which is called relative humidity (RH). Relative humidity means the percentage of current moisture concentration in air to saturated moisture concentration in air in certain time period. Relative humidity is very commonly used in weather.

Usage:

1. Connect sensor to datalogger and datalogger to computer.

2. Open SWR iLab to create new experiment. Set proper experiment time and acquisition interval.

Typical experiment:

1. Measure the change of environmental humidity

2. Design and make the vivarium and observe its stability

Experimental Case:

Hydroscopicity of the concentrated sulfuric acid

Product General Assembly

Experimental procedures:

- Connect apparatus as shown above.

- Open SWR iLab to create new experiment.

- Cover the holed rubber plug onto the probe of the Relative Humidity Sensor and then seal it with vaseline. Put it into a large test tube.

- Click the ‘Start’ button to measure the humidity in test tube. Click ‘Stop’ button after the experiment.

- Select curve operating in curve manager on the right side. Select ‘curve duplication’ function and pour appropriate amount of the concentrated sulfuric acid into the large test tube. Put on the bottle plug and click the ‘Start’ button. Click ‘Stop’ button and analyze the curve after data acquisition.

6. Analyze the curve and you can see the humidity has dropped significantly.

Experimental Result

Notes:

1. Calibration is not required.

2. The total air circulation impacts significantly on the response time of sensor. The response time of sensor is directly proportional to air moving speed. Under a certain humidity, if the probe of sensor is condensate with water drop, it will not offer accurate reading when measuring lower humidity before vaporizing. In order to quicken the vaporization of water drop, you can swing the sensor or use fan.

3. The internal circuit of sensor is not completely isolated from external air. If the steam in the environment under measurement is possible to condensate (high humidity), you must prevent liquid flowing into circuit.

4. The total air circulation impacts hugely on the response time of Relative Humidity Sensor, i.e., its response speed in flowing air will be quicken accordingly.

5. If the environment under the measurement is very dirty or unclean, it should be covered by nylon cloth to avoid pollution.

6. The Relative Humidity Sensor is insensitive to light.

7. Do not expose the sensor in chemical air (such as acetone, organic solvent or chlorine), otherwise the sensor will be damaged.

# Text boxes

Address: No.14 Junnong Road, Qinhuai District, Nanjing, China.

Website: //www.sinoswr.com

Post Code: 210007

Tel: +86-400-828-8387

Relative Humidity Sensor

Product No.: TS2207

Measuring range: 0～100%RH

Resolution: 0.1%

Accuracy: ±4%