Methane Sensor

Product No.: TS2225

Measuring range: 0-50000ppm

Resolution: 1%

Address: No.14 Junnong Road, Qinhuai District, Nanjing, China.

Website: //www.sinoswr.com

Post Code: 210007

Tel: +86-400-828-8387

Introduction:

The working principle of Methane Sensor catalytic combustion effect. Two arms of bridge of sensor consist of sensing element and compensating element. The resistance of sensing element increases when it detects combustible gas so that voltage will change. The changing of voltage will increase with concentration of gas. The detecting element is used as reference and compensation of temperature.

Usage:

- 1. Connect Methane Sensor to datalogger and datalogger to computer.

- 2. Open SWR iLab. Click ‘New’. Wait until the sensor becoming stable and click ‘Start’ to collect data.

- 3. Click ‘Stop’ after collecting.

- 4. Take out the sensor and preserve it in dry place.

Typical experiment:

Produce methane

Combustion reaction of methane

Notes:

- Methane is combustible asphyxiant gas. Do not inhale it during experiment.

- Do not immerse the electrode in liquid otherwise it will damage the electrode.

Preserve the electrode in dry place.