| Rapid Temperature Sensor ZC0011 Measuring range: -25~100℃ Resolution: 0.03℃ Accuracy: ±0.5℃ Sensing component: The semiconductor thermistor at the top of the sensor. Notes: The semiconductor thermistor which placed at top of the sensor is the key sensing component. Make sure the sensor semiconductor thermistor touching completely to the measured object to ensure the accuracy of measuring result. | ZC0011 Rapid Temperature Sensor can be used to measure the surface temperature of object or gas (non-corrosive). It also can measure the temperature of liquid (non-corrosive). Data cable (USB interface) Datalogger Computer installed with SWR iLab v8.0 and above 1. Connect the sensor to computer by USB cable. 2. Open the SWR iLab v8.0. 3. Click to create new experimental template. |
| --- | --- |

| Device status: The icon shows blue. It means that the sensor has been recognized by the software. Start: Click the button. The system will start collecting data. Stop: Click the button to stop data acquisition. | Natural cooling of water Liquid cooling via evaporation Conversion between work and energy Explore relationship between boiling point and pressure of liquid Explore thermoelectricity Comparison on heat conduction performance of different substances Explore the regulation of temperature change when a solid melts Set up the experimental apparatus. Open the SWR iLab. Create a new experiment. Click ‘New page’ button to create a new folder. Click ‘add line’ button to add the Temperature-Time coordinate. Set proper acquisition time and interval. Click 'Start' button and push the piston of syringe inwardly to compress air. When the temperature becomes stable. Click ‘Start’ button and pull the piston (be careful that do not pull out the piston) outwardly and quickly. Use the ‘Curve duplication’ function of software to show two experimental curves in one picture. Observe and analyze the experimental result. Clear up the experimental instruments. |
| --- | --- |
| ZC0011 Rapid Temperature Sensor has been calibrated before delivering from factory. If it is deviated too much during using, please calibrate accordingly by using the software. Connect the sensor to datalogger and open the SWR iLab. Put the probe into the ice-water mixture or the boiling water at the standard status and keep it still for a while. Click the ‘Calibrate’ button to calibrate the sensor. | 1. Never put any part of the sensor on open fire or heating disc directly. 2. Clean the sensor completely after using. 3. The temperature higher that 150℃ may damage the sensor. |

# Text boxes

Product specification:

Address: No.14 Junnong Road, Qinhuai District, Nanjing, China

Website: //www.sinoswr.com      Post Code: 210007

Tel: +86-400-828-8387