Introduction:

Acceleration Sensor consists of a square-shaped probe (built-in sensing element) and adapter. They are connected by a light cable. Fix the square-shaped probe on the object to be measured and it will be able to measure the acceleration which point in front of the probe during motion. The sensor is suitable to explore acceleration for 1D rectilinear motion.

The sensing element is silicon capacitive Acceleration Sensor. Weight is designed on the free end of silicon cantilever. Metal electrode are deposited on both side of weight so that a moveable electrode panel is formed. Install it between two fixed electrode panel. When inertia force is applied on the sensor, the movable electrode panel has moved slightly so that capacitance is changed. The circuit sensed the changing of capacitance and change electric field on electrode. The moveable electrode panel is kept at original place by field stress. Thus, it is able to output accurate acceleration value.

Calibration:

ZC0017 Acceleration Sensor does not require calibration. It can be used directly.

Usage:

There is a sensing direction for Acceleration Sensor. Be careful of the direction of sensor probe. The acceleration measuring direction is shown in figure.

You can add the weight of object to be measured because of mass of light cable to improve the accuracy.

Fix the square-shaped probe during using because it is only able to sense one direction. Make sure the probe is aiming the same direction as motion.

Typical experiment:

- Explore Newton’s law of motion

- Explore centripetal acceleration

- Explore resonance phenomenon

- Explore the simple harmonic motion on vertical direction

- Explore damped vibration

Experimental case:

Explore resonance phenomenon:

Product Assembly Diagram

Experimental procedures：

- Connect experiment apparatus.

- Open SWR iLab v8.0. Click ‘New’ to create new experimental template.

- Click ‘New page’ to create new folder.

- Click ‘add line’ to add ‘Acceleration-Time’ coordinate. Set proper collecting time and acquisition interval.

- Click ‘Start’ after steel ruler starts vibrating.

- Click ‘Stop’ to stop the experiment. Observe and analyze the experimental result.

- Clear up experimental apparatus.

Acceleration-Time Changing Diagram

Notes:

- The measured acceleration has directivity. Be careful with that.

- Zero the sensor before every measuring to ensure the accuracy.

- Minimize the effect from light cable.

# Text boxes

Acceleration Sensor (3-axis)

Product No.：ZC0017

Measuring Range：-6g~+6g

Resolution：0.01g

Accuracy：± 1% F.S

Address: No.14 Junnong Road, Qinhuai District, Nanjing, China.

Website: //www.sinoswr.com

Post Code: 210007

Tel: +86-400-828-8387