# Thermocouple

Thermocouple can be used to measure relative high temperature. It can measure temperature of fire directly. You do not have to worry about damaging it by high temperature.

Component

| No. | Model | Name | Picture |
| --- | --- | --- | --- |
| 1 | S0013 | Thermocouple |  |
| 2 |  | Thermocouple probe |  |

Usage

Connect Thermocouple to any port in SenseDisc.

Connect probe to Thermocouple.

Place the sensor into the environment to be measured.

Typical experiment

Explore the temperature change regulation for solid melting.

Explore the temperature of alcoholic flame at different position.

Notes

Do not measure temperature exceeding the measuring range.

The probe can be immersed into corrosive liquid or solid. Clean the probe after using and keep it dry.

# Text boxes

S0013 Thermocouple

Measuring range:-200~1200℃

Accuracy: ±3℃

Resolution: 0.25℃