Introduction:

The working principle of Chlorine Sensor is measuring concentration of chlorine by using electrochemistry. The probe consists of electrode and electrolyte. The electrolyte is separated by a selective gas-permeable membrane. The gas diffusing in sensor occurs redox reaction on the surface of electrode. Current is generated in the electrode. The value of current is corresponding to the concentration of chlorine. Sensor converts the signal in electrode into analog signal.

Usage:

- Connect the electrode to sensor, datalogger and computer.

- Chlorine Sensor has been calibrated before manufacturing.

- Expose the Chlorine Sensor electrode in the environment with chlorine to measure data.

- Clear up the experimental apparatus.

Typical experiment:

Generate chlorine by heating manganese dioxide and concentrated hydrochloric acid.

Notes:

1. The electrode is gas-permeable membrane electrode. Try not to break the membrane when assembling the device.

2. Chlorine is poisonous. Be careful and take precautions during using.

# Text boxes

Address: No.14 Junnong Road, Qinhuai District, Nanjing, China.

Website: //www.sinoswr.com

Post Code: 210007

Tel: +86-400-828-8387

Chlorine Sensor

Product No.: TS2220

Measuring range: 0ppm～20ppm

Resolution: 1 ppm