Micro Distance Sensor

ZC0030 Micro Distance Sensor can be used to measure the motion variation when an object moves along with the sensor’s lifter. The effective measuring range is between 0mm-50mm. It is simple and rapid sensing for small distance measuring.

Typical experiment

Buoyancy law

Forced vibration

Usage

- With the USB cable, connect the micro distance sensor to a computer.

- Open digitized experiment software.

- Click “General software for textbooks” button to choose experimental interface.

- Click “Quick experiment” button to establish a template for experimenting.

Notes

Do not place any part of the sensor on open fire or heating plates.

When using, pay attention to protecting the sensor’s probe, to prevent it from breaking. Product features

Calibration or standardization is not needed.

USB cable is used to connect, making it easy to operate.

# Text boxes

ZC0030 Micro Distance Sensor

Measuring range: 0 ~ 50mm

Accuracy: ±0.1mm

Resolution: 0.01mm